## Силовой кабель 0,66-3 кВ
Марка кабеля по ГОСТ 31996-2012 | Зарубежный аналог по VDE | Зарубежный аналог
1. С пластмассовой изоляцией 0,66, 1, 3 кВ
ВВГ | NYY | Cu/PVC/PVC
ВВГЭ | NYCY | Cu/PVC/SC/PVC
АВВГ | NAYY | Al/PVC/PVC
АВВГЭ | NAYCY | Al/PVC/SC/PVC
ВВГнг(А) | NYY flame retardant | Cu/PVC/PVC flame retardant
ВВГЭнг(А) | NYCY flame retardant | Cu/PVC/SC/PVC flame retardant
АВВГнг(А) | NAYY flame retardant | Al/PVC/PVC flame retardant
АВВГЭнг(А) | NAYCY flame retardant | Al/PVC/SC/PVC flame retardant
ВБШв | NYBY | Cu/PVC/STA/PVC
ВБШвнг(А) | NYBY flame retardant | Cu/PVC/STA/PVC flame retardant
АВБШв | NAYBY | Al/PVC/STA/PVC
АВБШвнг(А) | NAYBY flame retardant | Al/PVC/STA/PVC flame retardant
2. С изоляцией из силанольносшитого полиэтилена 1 кВ
ПвВГ | N2XY | Cu/XLPE/PVC
ПвВГЭ | N2XCY | Cu/XLPE/SC/PVC
АПвВГ | NA2XY | Al/XLPE/PVC
АПвВГЭ | N2XCY | Al/XLPE/SC/PVC
ПвБШв | N2XBY | Cu/XLPE/STA/PVC
АПвБШв | NA2XBY | Al/XLPE/STA/PVC
ПвБШп | N2XB2Y | Cu/XLPE/STA/PE
АПвБШп | NA2XB2Y | Al/XLPE/STA/PE
ПвВГнг(А) | N2XY flame retardant | Cu/XLPE/PVC flame retardant
ПвВГЭнг(А) | N2XCY flame retardant | Cu/XLPE/SC/PVC flame retardant
АПвВГнг(А) | NA2XY flame retardant | Al/XLPE/PVC flame retardant
АПвВГЭнг(А) | NA2XCY flame retardant | Al/XLPE/SC/PVC flame retardant
ПвБШвнг(В) | N2XBY flame retardant | Cu/XLPE/STA/PVC flame retardant
АПвБШвнг(В) | NA2ХBY flame retardant | Al/XLPE/STA/PVC flame retardant
ПвБШп(г) | N2Х(F)B2Y | Cu/XLPE/STA/PE
АПвБШп(г) | NA2Х(F)B2Y | Al/XLPE/STA/PE
3. С изоляцией из этиленпропиленовой резины 1, 3 кВ
EPREM РБВ | N3GBY | Cu/EPR/STA/PVC
EPREM АРБВ | NA3GBY | Al/EPR/STA/PVC
EPREM РБВнг(А) | N3GBY flame retardant | Cu/EPR/STA/PVC flame retardant
EPREM АРБВнг(А) | NA3GBY flame retardant | Al/EPR/STA/PVC flame retardant
EPREM РВГ | N3GY | Cu/EPR/PVC
EPREM АРВГ | NA3GY | Al/EPR/PVC
EPREM РВГнг(А) | N3GY flame retardant | Cu/EPR/PVC flame retardant
EPREM АРВГнг(А) | NA3GY flame retardant | Al/EPR/PVC flame retardant
EPREM РВГЭ | N3GCY | Cu/EPR/SC/PVC
EPREM АРВГЭ | NA3GCY | Al/EPR/SC/PVC
EPREM РВГЭнг(А) | N3GCY flame retardant | Cu/EPR/SC/PVC flame retardant
EPREM АРВГЭнг(А) | NA3GCY flame retardant | Al/EPR/SC/PVC flame retardant
EPREM РБВнг(А)-LS | N3GBY flame retardant low smoke | Cu/EPR/STA/PVC flame retardant low smoke
EPREM АРБВнг(А)-LS | NA3GBY flame retardant low smoke | Al/EPR/STA/PVC flame retardant low smoke
EPREM РБПнг(А)-HF | N3GBH | Cu/EPR/STA/LSZH
EPREM АРБПнг(А)-HF | NA3GBH | Al/EPR/STA/LSZH
EPREM РВГнг(А)-LS | N3GY flame retardant low smoke | Cu/EPR/PVC flame retardant low smoke
EPREM АРВГнг(А)-LS | NA3GY flame retardant low smoke | Al/EPR/PVC flame retardant low smoke
EPREM РВГЭнг(А)-LS | N3GCY flame retardant low smoke | Cu/EPR/SC/PVC flame retardant low smoke
EPREM АРВГЭнг(А)-LS | NA3GCY flame retardant low smoke | Al/EPR/SC/PVC flame retardant low smoke
EPREM РПГнг(А)-HF | N3GH | Cu/EPR/LSZH
EPREM АРПГнг(А)-HF | NA3GH | Al/EPR/LSZH
EPREM РПГЭнг(А)-HF | N3GCH | Cu/EPR/SC/LSZH
EPREM АРПГЭнг(А)-HF | NA3GCH | Al/EPR/SC/LSZH
4. С низким дымо- и газовыделением, в том числе огнестойкий (LS, FRLS) 0,66 и 1 кВ
ВВГнг(А)-LS | NYY flame retardant low smoke | Cu/PVC/PVC flame retardant low smoke
ВВГЭнг(А)-LS | NYCY flame retardant low smoke | Cu/PVC/SC/PVC flame retardant low smoke
АВВГнг(А)-LS | NAYY flame retardant low smoke | Al/PVC/PVC flame retardant low smoke
АВВГЭнг(А)-LS | NAYCY flame retardant low smoke | Al/PVC/SC/PVC flame retardant low smoke
ВБШвнг(А)-LS | NYBY flame retardant low smoke | Cu/PVC/STA/PVC flame retardant low smoke
АВБШвнг(А)-LS | NAYBY flame retardant low smoke | Al/PVC/STA/PVC flame retardant low smoke
ВВГнг(А)-FRLS | NYY-FE180 fire resistance low smoke | Cu/MGT/PVC/PVC-FE180 fire resistance low smoke
ВВГЭнг(А)-FRLS | NYCY-FE180 fire resistance low smoke | Cu/MGT/PVC/SC/PVC-FE180 fire resistance low smoke
ВБШвнг(А)-FRLS | NYBY-FE180 fire resistance low smoke | Cu/MGT/PVC/STA/PVC-FE180 fire resistance low smoke
АПвВГнг(А)-LS | NA2XY flame retardant low smoke | Al/XLPE/PVC flame retardant low smoke
ПвВГнг(А)-LS | N2XY flame retardant low smoke | Cu/XLPE/PVC flame retardant low smoke
АПвБШвнг(А)-LS | NA2XBY flame retardant low smoke | Al/XLPE/PVC flame retardant low smoke
ПвБШвнг(А)-LS | N2XBY flame retardant low smoke | Cu/XLPE/PVC flame retardant low smoke
5. Не содержащий галогенов, в том числе огнестойкий (HF, FRHF) 0,66 и 1кВ
ППГнг(А)-HF | NHH | Cu/LSZH/LSZH
ППГЭнг(А)-HF | NHCH | Cu/LSZH/SC/LSZH
ПБПнг(А)-HF | NHBH | Cu/LSZH/STA/LSZH
ПвПГнг(А)-HF | N2XH | Cu/XLPE/LSZH
ППГнг(А)-FRHF | NHH-FE180 | Cu/MGT/LSZH/LSZH-FE180
ППГЭнг(А)-FRHF | NHCH-FE180 | Cu/MGT/LSZH/SC/LSZH-FE180
ПвБПнг(А)-HF | N2XBH | Cu/MGT/XLPE/STA/LSZH
ПвБПнг(А)-FRHF | N2XBH-FE180 | Cu/MGT/XLPE/STA/LSZH-FE180
6. С низкой токсичностью, в том числе огнестойкий (LSLTx, FRLSLTx) 0,66 и 1кВ
АВБШвнг(А)-LSLTx | NAYBY flame retardant low smoke low toxicity | Al/PVC/STA/PVC flame retardant low smoke low toxicity
ВБШвнг(А)-LSLTx | NYBY flame retardant low smoke low toxicity | Cu/PVC/STA/PVC flame retardant low smoke low toxicity
АВВГнг(А)-LSLTx | NAYY flame retardant low smoke low toxicity | Al/PVC/PVC flame retardant low smoke low toxicity
ВВГнг(А)-LSLTx | NYY flame retardant low smoke low toxicity | Cu/PVC/PVC flame retardant low smoke low toxicity
АВВГЭнг(А)-LSLTx | NAYCY flame retardant low smoke low toxicity | Al/PVC/SC/PVC flame retardant low smoke low toxicity
ВВГЭнг(А)-LSLTx | NYCY flame retardant low smoke low toxicity | Cu/PVC/SC/PVC flame retardant low smoke low toxicity
ВБШвнг(А)-FRLSLTx | NYBY-FE180 fire resistance low smoke low toxicity | Cu/PVC/STA/PVC-FE180 fire resistance low smoke low toxicity
ВВГнг(А)-FRLSLTx | NYY-FE180 fire resistance low smoke low toxicity | Cu/PVC/PVC-FE180 fire resistance low smoke low toxicity
ВВГЭнг(А)-FRLSLTx | NYCY-FE180 fire resistance low smoke low toxicity | Cu/PVC/SC/PVC-FE180 fire resistance low smoke low toxicity
7. В холодостойком исполнении (ХЛ) 0,66, 1 и 3 кВ
ВБШв-ХЛ | NYkBYk | Cu/PVC/STA/PVC cold resistance
АВБШв-ХЛ | NAYkBYk | Al/PVC/STA/PVC cold resistance
ВБШвнг(А)-ХЛ | NYkBYk flame retardant | Cu/PVC/STA/PVC flame retardant cold resistance
АВБШвнг(А)-ХЛ | NAYkBYk flame retardant | Al/PVC/STA/PVC flame retardant cold resistance
ВВГ-ХЛ | NYkYk | Cu/PVC/PVC cold resistance
АВВГ-ХЛ | NAYkYk | Al/PVC/PVC cold resistance
ВВГЭ-ХЛ | NYkCYk | Cu/PVC/SC/PVC cold resistance
АВВГЭ-ХЛ | NAYkCYk | Al/PVC/SC/PVC cold resistance
ВВГнг(А)-ХЛ | NYkYk flame retardant | Cu/PVC/PVC flame retardant cold resistance
АВВГнг(А)-ХЛ | NAYkYk flame retardant | Al/PVC/PVC flame retardant cold resistance
ВВГЭнг(А)-ХЛ | NYkCYk flame retardant | Cu/PVC/SC/PVC flame retardant cold resistance
АВВГЭнг(А)-ХЛ | NAYkCYk flame retardant | Al/PVC/SC/PVC flame retardant cold resistance
8. Пожаро- взрывобезопасный, повышенной надежности (Вз) 0,66 и 1 кВ
-J - наличие в кабеле жилы заземления (PE)
-O - отсутствие в кабеле жилы заземления

## Силовой кабель 6-35 кВ
Марка кабеля по ГОСТ Р 55025-2012 | Зарубежный аналог по VDE |  | Зарубежный аналог
1. C пластмассовой изоляцией 6 кВ
ВВГ | Single core | Multi core | Single core | Multi core
| NYSY | NYSY | Cu/PVC/CTS/PVC | Cu/PVC/CTS/PVC
АВВГ | Single core | Multi core | Single core | Multi core
| NAYSY | NAYSY | Al/PVC/CTS/PVC | Al/PVC/CTS/PVC
ВБВ | Single core | Multi core | Single core | Multi core
| - | NYCYBY | - | Cu/PVC/SC/STA/PVC
АВБВ | Single core | Multi core | Single core | Multi core
| - | NAYSBY | - | Al/PVC/CTS/STA/PVC
ВВГ-ХЛ | Single core | Multi core | Single core | Multi core
| NYkSYk | NYkSYk | Cu/PVC/CTS/PVC cold resistance | Cu/PVC/CTS/PVC cold resistance
АВВГ-ХЛ | Single core | Multi core | Single core | Multi core
| NAYkSYk | NAYkSYk | Al/PVC/CTS/PVC cold resistance | Al/PVC/CTS/PVC cold resistance
ВВГнг(А)-ХЛ | Single core | Multi core | Single core | Multi core
| NYkSYk flame retardant | NYkSYk flame retardant | Cu/PVC/CTS/PVC flame retardant cold resistance | Cu/PVC/CTS/PVC flame retardant cold resistance
АВВГнг(А)-ХЛ | Single core | Multi core | Single core | Multi core
| NAYkSYk flame retardant | NAYkSYk flame retardant | Al/PVC/CTS/PVC flame retardant cold resistance | Al/PVC/CTS/PVC flame retardant cold resistance
ВБВ-ХЛ | Single core | Multi core | Single core | Multi core
| - | NYkCYkBYk | - | Cu/PVC/SC/STA/PVC cold resistance
АВБВ-ХЛ | Single core | Multi core | Single core | Multi core
| - | NAYkSBYk | - | Al/PVC/CTS/STA/PVC cold resistance
ВБВнг(А)-ХЛ | Single core | Multi core | Single core | Multi core
| - | NYkSBYk flame retardant | - | Cu/PVC/CTS/STA/PVC flame retardant cold resistance
АВБВнг(А)-ХЛ | Single core | Multi core | Single core | Multi core
| - | NAYkSBYk flame retardant | - | Al/PVC/CTS/STA/PVC flame retardant cold resistance
ВВГнг(А) | Single core | Multi core | Single core | Multi core
| NYSY flame retardant | NYSY flame retardant | Cu/PVC/CTS/PVC flame retardant | Cu/PVC/CTS/PVC flame retardant
АВВГнг(А) | Single core | Multi core | Single core | Multi core
| NAYSY flame retardant | NAYSY flame retardant | Al/PVC/CTS/PVC flame retardant | Al/PVC/CTS/PVC flame retardant
ВБВнг(А) | Single core | Multi core | Single core | Multi core
| - | NYSBY flame retardant | - | Cu/PVC/CTS/STA/PVC flame retardant
АВБВнг(А) | Single core | Multi core | Single core | Multi core
| - | NAYSBY flame retardant | - | Al/PVC/CTS/STA/PVC flame retardant
ВВГнг(А)-LS | Single core | Multi core | Single core | Multi core
| NYSY flame retardant low smoke | NYSY flame retardant low smoke | Cu/PVC/CTS/PVC flame retardant low smoke | Cu/PVC/CTS/PVC flame retardant low smoke
АВВГнг(А)-LS | Single core | Multi core | Single core | Multi core
| NAYSY flame retardant low smoke | NAYSY flame retardant low smoke | Al/PVC/CTS/PVC flame retardant low smoke | Al/PVC/CTS/PVC flame retardant low smoke
ВБВнг(А)-LS | Single core | Multi core | Single core | Multi core
| - | NYSBY flame retardant low smoke | - | Cu/PVC/CTS/STA/PVC flame retardant low smoke
АВБВнг(А)-LS | Single core | Multi core | Single core | Multi core
| - | NAYSBY flame retardant low smoke | - | Al/PVC/CTS/STA/PVC flame retardant low smoke
2. С изоляцией из сшитого полиэтилена 10, 15, 20, 35 кВ
ПвП | Single core | Multi core | Single core | Multi core
| N2XS2Y | N2XSE2Y | Cu/XLPE/CWS/PE | Cu/XLPE/CWS/PE
АПвП | Single core | Multi core | Single core | Multi core
| NA2XS2Y | NA2XSE2Y | Al/XLPE/CWS/PE | Al/XLPE/CWS/PE
ПвПу | Single core | Multi core | Single core | Multi core
| N2XS2Y | N2XSE2Y | Cu/XLPE/CWS/PE | Cu/XLPE/CWS/PE
АПвПу | Single core | Multi core | Single core | Multi core
| NA2XS2Y | NA2XSE2Y | Al/XLPE/CWS/PE | Al/XLPE/CWS/PE
ПвВ | Single core | Multi core | Single core | Multi core
| N2XSY | N2XSEY | Cu/XLPE/CWS/PVC | Cu/XLPE/CWS/PVC
АПвВ | Single core | Multi core | Single core | Multi core
| NA2XSY | NA2XSEY | Al/XLPE/CWS/PVC | Al/XLPE/CWS/PVC
ПвБВ | Single core | Multi core | Single core | Multi core
| - | N2XSEBY | - | Cu/XLPE/CWS/STA/PVC
АПвБВ | Single core | Multi core | Single core | Multi core
| - | NA2XSEBY | - | Al/XLPE/CWS/STA/PVC
ПвВнг(А)-LS | Single core | Multi core | Single core | Multi core
| N2XSY flame retardant low smoke | N2XSEY flame retardant low smoke | Cu/XLPE/CWS/PVC flame retardant low smoke | Cu/XLPE/CWS/PVC flame retardant low smoke
АПвВнг(А)-LS | Single core | Multi core | Single core | Multi core
| NA2XSY flame retardant low smoke | NA2XSEY flame retardant low smoke | Al/XLPE/CWS/PVC flame retardant low smoke | Al/XLPE/CWS/PVC flame retardant low smoke
ПвБВнг(А)-LS | Single core | Multi core | Single core | Multi core
| - | N2XSEBY flame retardant low smoke | - | Cu/XLPE/CWS/STA/PVC flame retardant low smoke
АПвБВнг(А)-LS | Single core | Multi core | Single core | Multi core
| - | NA2XSEBY flame retardant low smoke | - | Al/XLPE/CWS/STA/PVC flame retardant low smoke
ПвПг | Single core | Multi core | Single core | Multi core
| N2XS(F)2Y | N2XSE(F)2Y | Cu/XLPE/LW/CWS/LW/PE | Cu/XLPE/LW/CWS/LW/PE
АПвПг | Single core | Multi core | Single core | Multi core
| NA2XS(F)2Y | NA2XSE(F)2Y | Al/XLPE/LW/CWS/LW/PE | Al/XLPE/LW/CWS/LW/PE
ПвПгж | Single core | Multi core | Single core | Multi core
| N2XS(F)2Y | N2XSE(F)2Y | Cu/XLPE/LW/CWS/LW/PE | Cu/XLPE/LW/CWS/LW/PE
АПвПгж | Single core | Multi core | Single core | Multi core
| NA2XS(F)2Y | NA2XSE(F)2Y | Al/XLPE/LW/CWS/LW/PE | Al/XLPE/LW/CWS/LW/PE
ПвП2г | Single core | Multi core | Single core | Multi core
| N2XS(FL)2Y | N2XSE(FL)2Y | Cu/XLPE/CWS/LW/PE | Cu/XLPE/CWS/LW/PE
АПвП2г | Single core | Multi core | Single core | Multi core
| NA2XS(FL)2Y | NA2XSE(FL)2Y | Al/XLPE/CWS/LW/PE | Al/XLPE/CWS/LW/PE
ПвП2гж | Single core | Multi core | Single core | Multi core
| N2XS(FL)2Y | N2XSE(FL)2Y | Cu/XLPE/CWS/LW/PE | Cu/XLPE/CWS/LW/PE
АПвП2гж | Single core | Multi core | Single core | Multi core
| NA2XS(FL)2Y | NA2XSE(FL)2Y | Al/XLPE/CWS/LW/PE | Al/XLPE/CWS/LW/PE
ПвПуг | Single core | Multi core | Single core | Multi core
| N2XS(F)2Y | N2XSE(F)2Y | Cu/XLPE/LW/CWS/LW/PE | Cu/XLPE/LW/CWS/LW/PE
АПвПуг | Single core | Multi core | Single core | Multi core
| NA2XS(F)2Y | NA2XSE(F)2Y | Al/XLPE/LW/CWS/LW/PE | Al/XLPE/LW/CWS/LW/PE
ПвПугж | Single core | Multi core | Single core | Multi core
| N2XS(F)2Y | N2XSE(F)2Y | Cu/XLPE/LW/CWS/LW/PE | Cu/XLPE/LW/CWS/LW/PE
АПвПугж | Single core | Multi core | Single core | Multi core
| NA2XS(F)2Y | NA2XSE(F)2Y | Al/XLPE/LW/CWS/LW/PE | Al/XLPE/LW/CWS/LW/PE
ПвПу2г | Single core | Multi core | Single core | Multi core
| N2XS(FL)2Y | N2XSE(FL)2Y | Cu/XLPE/CWS/LW/PE | Cu/XLPE/CWS/LW/PE
АПвПу2г | Single core | Multi core | Single core | Multi core
| NA2XS(FL)2Y | NA2XSE(FL)2Y | Al/XLPE/CWS/LW/PE | Al/XLPE/CWS/LW/PE
ПвПу2гж | Single core | Multi core | Single core | Multi core
| N2XS(FL)2Y, N2XSE(FL)2Y | N2XS(FL)2Y, N2XSE(FL)2Y | Cu/XLPE/CWS/LW/PE | Cu/XLPE/CWS/LW/PE
АПвПу2гж | Single core | Multi core | Single core | Multi core
| NA2XS(FL)2Y | NA2XSE(FL)2Y | Al/XLPE/CWS/LW/PE | Al/XLPE/CWS/LW/PE
ПвБП | Single core | Multi core | Single core | Multi core
| - | N2XSEB2Y | - | Cu/XLPE/CWS/STA/PE
АПвБП | Single core | Multi core | Single core | Multi core
| - | NA2XSEB2Y | - | Al/XLPE/CWS/STA/PE
ПвБПг | Single core | Multi core | Single core | Multi core
| - | N2XSE(F)B2Y | - | Cu/XLPE/LW/CWS/LW/STA/PE
АПвБПг | Single core | Multi core | Single core | Multi core
| - | NA2XSE(F)B2Y | - | Al/XLPE/LW/CWS/LW/STA/PE
ПвБПгж | Single core | Multi core | Single core | Multi core
| - | N2XSE(F)B2Y | - | Cu/XLPE/LW/CWS/LW/STA/PE
АПвБПгж | Single core | Multi core | Single core | Multi core
| - | NA2XSE(F)B2Y | - | Al/XLPE/LW/CWS/LW/STA/PE
ПвБП2г | Single core | Multi core | Single core | Multi core
| - | N2XSE(FL)B2Y | - | Cu/XLPE/CWS/LW/STA/PE
АПвБП2г | Single core | Multi core | Single core | Multi core
| - | NA2XSE(FL)B2Y | - | Al/XLPE/CWS/LW/STA/PE
ПвБП2гж | Single core | Multi core | Single core | Multi core
| - | N2XSE(FL)B2Y | - | Cu/XLPE/CWS/LW/STA/PE
АПвБП2гж | Single core | Multi core | Single core | Multi core
| - | NA2XSE(FL)B2Y | - | Al/XLPE/CWS/LW/STA/PE
ПвВнг(А)-ХЛ | Single core | Multi core | Single core | Multi core
| N2XSYk flame retardant cold resistance | N2XSEYk flame retardant cold resistance | Cu/XLPE/CWS/PVC flame retardant cold resistance | Cu/XLPE/CWS/PVC flame retardant cold resistance
АПвВнг(А)-ХЛ | Single core | Multi core | Single core | Multi core
| NA2XSYk flame retardant cold resistance | NA2XSEYk f flame retardant cold resistance | Al/XLPE/CWS/PVC flame retardant cold resistance | Al/XLPE/CWS/PVC flame retardant cold resistance
ПвПнг(А)-HF | Single core | Multi core | Single core | Multi core
| N2XSH | N2XSEH | Cu/XLPE/CWS/LSZH | Cu/XLPE/CWS/LSZH
АПвПнг(А)-HF | Single core | Multi core | Single core | Multi core
| NA2XSH | NA2XSEH | Al/XLPE/CWS/LSZH | Al/XLPE/CWS/LSZH
ПвП2гжнг(А)-HF | Single core | Multi core | Single core | Multi core
| N2XS(FL)H | N2XSE(FL)H | Cu/XLPE/CWS/LW/LSZH | Cu/XLPE/CWS/LW/LSZH
АПвП2гжнг(А)-HF | Single core | Multi core | Single core | Multi core
| NA2XS(FL)H | NA2XSE(FL)H | Al/XLPE/CWS/LW/LSZH | Al/XLPE/CWS/LW/LSZH
ПвБПнг(А)-HF | Single core | Multi core | Single core | Multi core
| - | N2XSEBH | - | Cu/XLPE/CWS/STA/LSZH
АПвБПнг(А)-HF | Single core | Multi core | Single core | Multi core
| - | NA2XSEBH | - | Al/XLPE/CWS/STA/LSZH
3. С изоляцией из сшитого полиэтилена 6 кВ
ПвБП | Single core | Multi core | Single core | Multi core
| - | N2XSEB2Y | - | Cu/XLPE/CWS/STA/PE
АПвБП | Single core | Multi core | Single core | Multi core
| - | NA2XSEB2Y | - | Al/XLPE/CWS/STA/PE
ПвБПг | Single core | Multi core | Single core | Multi core
| - | N2XSE(F)B2Y | - | Cu/XLPE/LW/CWS/LW/STA/PE
АПвБПг | Single core | Multi core | Single core | Multi core
| - | NA2XSE(F)B2Y | - | Al/XLPE/LW/CWS/LW/STA/PE
ПвБПгж | Single core | Multi core | Single core | Multi core
| - | N2XSE(F)B2Y | - | Cu/XLPE/LW/CWS/LW/STA/PE
АПвБПгж | Single core | Multi core | Single core | Multi core
| - | NA2XSE(F)B2Y | - | Al/XLPE/LW/CWS/LW/STA/PE
ПвБП2г | Single core | Multi core | Single core | Multi core
| - | N2XSE(FL)B2Y | - | Cu/XLPE/CWS/LW/STA/PE
АПвБП2г | Single core | Multi core | Single core | Multi core
| - | NA2XSE(FL)B2Y | - | Al/XLPE/CWS/LW/STA/PE
ПвБП2гж | Single core | Multi core | Single core | Multi core
| - | N2XSE(FL)B2Y | - | Cu/XLPE/CWS/LW/STA/PE
АПвБП2гж | Single core | Multi core | Single core | Multi core
| - | NA2XSE(FL)B2Y | - | Al/XLPE/CWS/LW/STA/PE
ПвПг | Single core | Multi core | Single core | Multi core
| N2XS(F)2Y | N2XSE(F)2Y | Cu/XLPE/LW/CWS/LW/PE | Cu/XLPE/LW/CWS/LW/PE
АПвПг | Single core | Multi core | Single core | Multi core
| NA2XS(F)2Y | NA2XSE(F)2Y | Al/XLPE/LW/CWS/LW/PE | Al/XLPE/LW/CWS/LW/PE
ПвПгж | Single core | Multi core | Single core | Multi core
| N2XS(F)2Y | N2XSE(F)2Y | Cu/XLPE/LW/CWS/LW/PE | Cu/XLPE/LW/CWS/LW/PE
АПвПгж | Single core | Multi core | Single core | Multi core
| NA2XS(F)2Y | NA2XSE(F)2Y | Al/XLPE/LW/CWS/LW/PE | Al/XLPE/LW/CWS/LW/PE
ПвП2г | Single core | Multi core | Single core | Multi core
| N2XS(FL)2Y | N2XSE(FL)2Y | Cu/XLPE/CWS/LW/PE | Cu/XLPE/CWS/LW/PE
АПвП2г | Single core | Multi core | Single core | Multi core
| NA2XS(FL)2Y | NA2XSE(FL)2Y | Al/XLPE/CWS/LW/PE | Al/XLPE/CWS/LW/PE
ПвП2гж | Single core | Multi core | Single core | Multi core
| N2XS(FL)2Y | N2XSE(FL)2Y | Cu/XLPE/CWS/LW/PE | Cu/XLPE/CWS/LW/PE
АПвП2гж | Single core | Multi core | Single core | Multi core
| NA2XS(FL)2Y | NA2XSE(FL)2Y | Al/XLPE/CWS/LW/PE | Al/XLPE/CWS/LW/PE
ПвПуг | Single core | Multi core | Single core | Multi core
| N2XS(F)2Y | N2XSE(F)2Y | Cu/XLPE/LW/CWS/LW/PE | Cu/XLPE/LW/CWS/LW/PE
АПвПуг | Single core | Multi core | Single core | Multi core
| NA2XS(F)2Y | NA2XSE(F)2Y | Al/XLPE/LW/CWS/LW/PE | Al/XLPE/LW/CWS/LW/PE
ПвПугж | Single core | Multi core | Single core | Multi core
| N2XS(F)2Y | N2XSE(F)2Y | Cu/XLPE/LW/CWS/LW/PE | Cu/XLPE/LW/CWS/LW/PE
АПвПугж | Single core | Multi core | Single core | Multi core
| NA2XS(F)2Y | NA2XSE(F)2Y | Al/XLPE/LW/CWS/LW/PE | Al/XLPE/LW/CWS/LW/PE
ПвПу2г | Single core | Multi core | Single core | Multi core
| N2XS(FL)2Y | N2XSE(FL)2Y | Cu/XLPE/CWS/LW/PE | Cu/XLPE/CWS/LW/PE
АПвПу2г | Single core | Multi core | Single core | Multi core
| NA2XS(FL)2Y | NA2XSE(FL)2Y | Al/XLPE/CWS/LW/PE | Al/XLPE/CWS/LW/PE
ПвПу2гж | Single core | Multi core | Single core | Multi core
| N2XS(FL)2Y, N2XSE(FL)2Y | N2XS(FL)2Y, N2XSE(FL)2Y | Cu/XLPE/CWS/LW/PE | Cu/XLPE/CWS/LW/PE
АПвПу2гж | Single core | Multi core | Single core | Multi core
| NA2XS(FL)2Y | NA2XSE(FL)2Y | Al/XLPE/CWS/LW/PE | Al/XLPE/CWS/LW/PE
ПвВнг(А)-LS | Single core | Multi core | Single core | Multi core
| N2XSY flame retardant low smoke | N2XSEY flame retardant low smoke | Cu/XLPE/CWS/PVC flame retardant low smoke | Cu/XLPE/CWS/PVC flame retardant low smoke
АПвВнг(А)-LS | Single core | Multi core | Single core | Multi core
| NA2XSY flame retardant low smoke | NA2XSEY flame retardant low smoke | Al/XLPE/CWS/PVC flame retardant low smoke | Al/XLPE/CWS/PVC flame retardant low smoke
ПвБВнг(А)-LS | Single core | Multi core | Single core | Multi core
| - | N2XSEBY flame retardant low smoke | - | Cu/XLPE/CWS/STA/PVC flame retardant low smoke
АПвБВнг(А)-LS | Single core | Multi core | Single core | Multi core
| - | NA2XSEBY flame retardant low smoke | - | Al/XLPE/CWS/STA/PVC flame retardant low smoke
ПвВ | Single core | Multi core | Single core | Multi core
| N2XSY | N2XSEY | Cu/XLPE/CWS/PVC | Cu/XLPE/CWS/PVC
АПвВ | Single core | Multi core | Single core | Multi core
| NA2XSY | NA2XSEY | Al/XLPE/CWS/PVC | Al/XLPE/CWS/PVC
ПвБВ | Single core | Multi core | Single core | Multi core
| - | N2XSEBY | - | Cu/XLPE/CWS/STA/PVC
АПвБВ | Single core | Multi core | Single core | Multi core
| - | NA2XSEBY | - | Al/XLPE/CWS/STA/PVC
ПвП | Single core | Multi core | Single core | Multi core
| N2XS2Y | N2XSE2Y | Cu/XLPE/CWS/PE | Cu/XLPE/CWS/PE
АПвП | Single core | Multi core | Single core | Multi core
| NA2XS2Y | NA2XSE2Y | Al/XLPE/CWS/PE | Al/XLPE/CWS/PE
ПвПу | Single core | Multi core | Single core | Multi core
| N2XS2Y | N2XSE2Y | Cu/XLPE/CWS/PE | Cu/XLPE/CWS/PE
АПвПу | Single core | Multi core | Single core | Multi core
| NA2XS2Y | NA2XSE2Y | Al/XLPE/CWS/PE | Al/XLPE/CWS/PE
4. С изоляцией из этиленпропиленовой резины 6, 10,15,20,30 и 35 кВ
EPREM РвБВ | Single core | Multi core | Single core | Multi core
| - | N3GSEBY | - | Cu/EPR/CWS/STA/PVC
EPREM АРвБВ | Single core | Multi core | Single core | Multi core
| - | NA3GSEBY | - | Al/EPR/CWS/STA/PVC
EPREM РвБВнг(А) | Single core | Multi core | Single core | Multi core
| - | N3GSEBY flame retardant | - | Cu/EPR/CWS/STA/PVC flame retardant
EPREM АРвБВнг(А) | Single core | Multi core | Single core | Multi core
| - | NA3GSEBY flame retardant | - | Al/EPR/CWS/STA/PVC flame retardant
EPREM РвБПнг(А)-HF | Single core | Multi core | Single core | Multi core
| - | N3GSEBH | - | Cu/EPR/CWS/STA/LSZH
EPREM АРвБПнг(А)-HF | Single core | Multi core | Single core | Multi core
| - | NA3GSEBH | - | Al/EPR/CWS/STA/LSZH
EPREM РвБВнг(А)-LS | Single core | Multi core | Single core | Multi core
| - | N3GSEBY flame retardant low smoke | - | Cu/EPR/CWS/STA/PVC flame retardant low smoke
EPREM АРвБВнг(А)-LS | Single core | Multi core | Single core | Multi core
| - | NA3GSEBY flame retardant low smoke | - | Al/EPR/CWS/STA/PVC flame retardant low smoke
EPREM РвВ | Single core | Multi core | Single core | Multi core
| N3GSY | N3GSEY | Cu/EPR/CWS/PVC | Cu/EPR/CWS/PVC
EPREM АРвВ | Single core | Multi core | Single core | Multi core
| NA3GSY | NA3GSEY | Al/EPR/CWS/PVC | Al/EPR/CWS/PVC
EPREM РвВнг(А) | Single core | Multi core | Single core | Multi core
| N3GSY flame retardant | N3GSEY flame retardant | Cu/EPR/CWS/PVC flame retardant | Cu/EPR/CWS/PVC flame retardant
EPREM АРвВнг(А) | Single core | Multi core | Single core | Multi core
| NA3GSY flame retardant | NA3GSEY flame retardant | Al/EPR/CWS/PVC flame retardant | Al/EPR/CWS/PVC flame retardant
EPREM РвП | Single core | Multi core | Single core | Multi core
| N3GS2Y | N3GSE2Y | Cu/EPR/CWS/PE | Cu/EPR/CWS/PE
EPREM АРвП | Single core | Multi core | Single core | Multi core
| NA3GS2Y | NA3GSE2Y | Al/EPR/CWS/PE | Al/EPR/CWS/PE
EPREM РвВнг(А)-LS | Single core | Multi core | Single core | Multi core
| N3GSY flame retardant low smoke | N3GSEY flame retardant low smoke | Cu/EPR/CWS/PVC flame retardant low smoke | Cu/EPR/CWS/PVC flame retardant low smoke
EPREM АРвВнг(А)-LS | Single core | Multi core | Single core | Multi core
| NA3GSY flame retardant low smoke | NA3GSEY flame retardant low smoke | Al/EPR/CWS/PVC flame retardant low smoke | Al/EPR/CWS/PVC flame retardant low smoke
EPREM РвПнг(А)-HF | Single core | Multi core | Single core | Multi core
| N3GSH | N3GSEH | Cu/EPR/CWS/LSZH | Cu/EPR/CWS/LSZH
EPREM АРвПнг(А)-HF | Single core | Multi core | Single core | Multi core
| NA3GSH | NA3GSEH | Al/EPR/CWS/LSZH | Al/EPR/CWS/LSZH
5. С круглой проволочной броней 10, 15, 20 и 35 кВ
ПвКаП | Single core | Multi core | Single core | Multi core
| - | - | Cu/XLPE/CWS/AWA/PE | Cu/XLPE/CWS/AWA/PE
ПвКсП | Single core | Multi core | Single core | Multi core
| - | - | Cu/XLPE/CWS/AWA/PE | Cu/XLPE/CWS/AWA/PE
ПвКП | Single core | Multi core | Single core | Multi core
| - | N2XSER2Y | - | Cu/XLPE/CWS/SWA/PE
АПвКаП | Single core | Multi core | Single core | Multi core
| - | - | Al/XLPE/CWS/AWA/PE | Al/XLPE/CWS/AWA/PE
АПвКсП | Single core | Multi core | Single core | Multi core
| - | - | Al/XLPE/CWS/AWA/PE | Al/XLPE/CWS/AWA/PE
АПвКП | Single core | Multi core | Single core | Multi core
| - | NA2XSER2Y | - | Al/XLPE/CWS/SWA/PE
ПвКаПу | Single core | Multi core | Single core | Multi core
| - | - | Cu/XLPE/CWS/AWA/PE | Cu/XLPE/CWS/AWA/PE
ПвКсПу | Single core | Multi core | Single core | Multi core
| - | - | Cu/XLPE/CWS/AWA/PE | Cu/XLPE/CWS/AWA/PE
ПвКПу | Single core | Multi core | Single core | Multi core
| - | N2XSER2Y | - | Cu/XLPE/CWS/SWA/PE
АПвКаПу | Single core | Multi core | Single core | Multi core
| - | - | Al/XLPE/CWS/AWA/PE | Al/XLPE/CWS/AWA/PE
АПвКсПу | Single core | Multi core | Single core | Multi core
| - | - | Al/XLPE/CWS/AWA/PE | Al/XLPE/CWS/AWA/PE
АПвКПу | Single core | Multi core | Single core | Multi core
| - | NA2XSER2Y | - | Al/XLPE/CWS/SWA/PE
ПвКаВ | Single core | Multi core | Single core | Multi core
| - | - | Cu/XLPE/CWS/AWA/PVC | Cu/XLPE/CWS/AWA/PVC
ПвКсВ | Single core | Multi core | Single core | Multi core
| - | - | Cu/XLPE/CWS/AWA/PVC | Cu/XLPE/CWS/AWA/PVC
ПвКВ | Single core | Multi core | Single core | Multi core
| - | N2XSERY | - | Cu/XLPE/CWS/SWA/PVC
АПвКаВ | Single core | Multi core | Single core | Multi core
| - | - | Al/XLPE/CWS/AWA/PVC | Al/XLPE/CWS/AWA/PVC
АПвКсВ | Single core | Multi core | Single core | Multi core
| - | - | Al/XLPE/CWS/AWA/PVC | Al/XLPE/CWS/AWA/PVC
АПвКВ | Single core | Multi core | Single core | Multi core
| - | NA2XSERY | - | Al/XLPE/CWS/SWA/PVC
ПвКаВнг(А) | Single core | Multi core | Single core | Multi core
| - | - | Cu/XLPE/CWS/AWA/PVC flame retardant | Cu/XLPE/CWS/AWA/PVC flame retardant
ПвКсВнг(А) | Single core | Multi core | Single core | Multi core
| - | - | Cu/XLPE/CWS/AWA/PVC flame retardant | Cu/XLPE/CWS/AWA/PVC flame retardant
ПвКВнг(А) | Single core | Multi core | Single core | Multi core
| - | N2XSERY flame retardant | - | Cu/XLPE/CWS/SWA/PVC flame retardant
АПвКаВнг(А) | Single core | Multi core | Single core | Multi core
| - | - | Al/XLPE/CWS/AWA/PVC flame retardant | Al/XLPE/CWS/AWA/PVC flame retardant
АПвКсВнг(А) | Single core | Multi core | Single core | Multi core
| - | - | Al/XLPE/CWS/AWA/PVC flame retardant | Al/XLPE/CWS/AWA/PVC flame retardant
АПвКВнг(А) | Single core | Multi core | Single core | Multi core
| - | NA2XSERY flame retardant | - | Al/XLPE/CWS/SWA/PVC flame retardant
ПвКаВнг(A)-LS | Single core | Multi core | Single core | Multi core
| - | - | Cu/XLPE/CWS/AWA/PVC flame retardant low smoke | Cu/XLPE/CWS/AWA/PVC flame retardant low smoke
ПвКсВнг(A)-LS | Single core | Multi core | Single core | Multi core
| - | - | Cu/XLPE/CWS/AWA/PVC flame retardant low smoke | Cu/XLPE/CWS/AWA/PVC flame retardant low smoke
ПвКВнг(A)-LS | Single core | Multi core | Single core | Multi core
| - | N2XSERY flame retardant low smoke | - | Cu/XLPE/CWS/SWA/PVC flame retardant low smoke
АПвКаВнг(A)-LS | Single core | Multi core | Single core | Multi core
| - | - | Al/XLPE/CWS/AWA/PVC flame retardant low smoke | Al/XLPE/CWS/AWA/PVC flame retardant low smoke
АПвКсВнг(A)-LS | Single core | Multi core | Single core | Multi core
| - | - | Al/XLPE/CWS/AWA/PVC flame retardant low smoke | Al/XLPE/CWS/AWA/PVC flame retardant low smoke
АПвКВнг(A)-LS | Single core | Multi core | Single core | Multi core
| - | NA2XSERY flame retardant low smoke | - | Al/XLPE/CWS/SWA/PVC flame retardant low smoke
ПвКаПнг(А)-HF | Single core | Multi core | Single core | Multi core
| - | - | Cu/XLPE/CWS/AWA/LSZH | Cu/XLPE/CWS/AWA/LSZH
ПвКсПнг(А)-HF | Single core | Multi core | Single core | Multi core
| - | - | Cu/XLPE/CWS/AWA/LSZH | Cu/XLPE/CWS/AWA/LSZH
ПвКПнг(А)-HF | Single core | Multi core | Single core | Multi core
| - | N2XSERH | - | Cu/XLPE/CWS/SWA/LSZH
АПвКаПнг(А)-HF | Single core | Multi core | Single core | Multi core
| - | - | Al/XLPE/CWS/AWA/LSZH | Al/XLPE/CWS/AWA/LSZH
АПвКсПнг(А)-HF | Single core | Multi core | Single core | Multi core
| - | - | Al/XLPE/CWS/AWA/LSZH | Al/XLPE/CWS/AWA/LSZH
АПвКПнг(А)-HF | Single core | Multi core | Single core | Multi core
| - | NA2XSERH | - | Al/XLPE/CWS/SWA/LSZH
ПвКаВ-ХЛ | Single core | Multi core | Single core | Multi core
| - | - | Cu/XLPE/CWS/AWA/PVC cold resistance | Cu/XLPE/CWS/AWA/PVC cold resistance
ПвКсВ-ХЛ | Single core | Multi core | Single core | Multi core
| - | - | Cu/XLPE/CWS/AWA/PVC cold resistance | Cu/XLPE/CWS/AWA/PVC cold resistance
ПвКВ-ХЛ | Single core | Multi core | Single core | Multi core
| - | N2XSERYk | - | Cu/XLPE/CWS/SWA/PVC cold resistance
АПвКаВ-ХЛ, | Single core | Multi core | Single core | Multi core
| - | - | Al/XLPE/CWS/AWA/PVC cold resistance | Al/XLPE/CWS/AWA/PVC cold resistance
АПвКсВ-ХЛ | Single core | Multi core | Single core | Multi core
| - | - | Al/XLPE/CWS/AWA/PVC cold resistance | Al/XLPE/CWS/AWA/PVC cold resistance
АПвКВ-ХЛ | Single core | Multi core | Single core | Multi core
| - | NA2XSERYk | - | Al/XLPE/CWS/SWA/PVC cold resistance
ПвКаВнг(А)-ХЛ | Single core | Multi core | Single core | Multi core
| - | - | Cu/XLPE/CWS/AWA/PVC flame retardant cold resistance | Cu/XLPE/CWS/AWA/PVC flame retardant cold resistance
ПвКсВнг(А)-ХЛ | Single core | Multi core | Single core | Multi core
| - | - | Cu/XLPE/CWS/AWA/PVC flame retardant cold resistance | Cu/XLPE/CWS/AWA/PVC flame retardant cold resistance
ПвКВнг(А)-ХЛ | Single core | Multi core | Single core | Multi core
| - | N2XSERYk flame retardant | - | Cu/XLPE/CWS/SWA/PVC flame retardant cold resistance
АПвКаВнг(А)-ХЛ | Single core | Multi core | Single core | Multi core
| - | - | Al/XLPE/CWS/AWA/PVC flame retardant cold resistance | Al/XLPE/CWS/AWA/PVC flame retardant cold resistance
АПвКсВнг(А)-ХЛ | Single core | Multi core | Single core | Multi core
| - | - | Al/XLPE/CWS/AWA/PVC flame retardant cold resistance | Al/XLPE/CWS/AWA/PVC flame retardant cold resistance
АПвКВнг(А)-ХЛ | Single core | Multi core | Single core | Multi core
| - | NA2XSERY flame retardant cold resistance | - | Al/XLPE/CWS/SWA/PVC flame retardant cold resistance
ПвКаПг | Single core | Multi core | Single core | Multi core
| - | - | Cu/XLPE/LW/CWS/LW/AWA/PE | Cu/XLPE/LW/CWS/LW/AWA/PE
ПвКсПг | Single core | Multi core | Single core | Multi core
| - | - | Cu/XLPE/LW/CWS/LW/AWA/PE | Cu/XLPE/LW/CWS/LW/AWA/PE
ПвКПг | Single core | Multi core | Single core | Multi core
| - | NA2XSER2Y | Cu/XLPE/LW/CWS/LW/SWA/PE | Cu/XLPE/LW/CWS/LW/SWA/PE
АПвКаПг | Single core | Multi core | Single core | Multi core
| - | - | Al/XLPE/LW/CWS/LW/AWA/PE | Al/XLPE/LW/CWS/LW/AWA/PE
АПвКсПг | Single core | Multi core | Single core | Multi core
| - | - | Al/XLPE/LW/CWS/LW/AWA/PE | Al/XLPE/LW/CWS/LW/AWA/PE
АПвКПг | Single core | Multi core | Single core | Multi core
| - | NA2XSER2Y | Al/XLPE/LW/CWS/LW/SWA/PE | Al/XLPE/LW/CWS/LW/SWA/PE
ПвКаПгж | Single core | Multi core | Single core | Multi core
| - | - | Cu/XLPE/LW/CWS/LW/AWA/PE | Cu/XLPE/LW/CWS/LW/AWA/PE
ПвКсПгж | Single core | Multi core | Single core | Multi core
| - | - | Cu/XLPE/LW/CWS/LW/AWA/PE | Cu/XLPE/LW/CWS/LW/AWA/PE
ПвКПгж | Single core | Multi core | Single core | Multi core
| - | NA2XSER2Y | Cu/XLPE/LW/CWS/LW/SWA/PE | Cu/XLPE/LW/CWS/LW/SWA/PE
АПвКаПгж | Single core | Multi core | Single core | Multi core
| - | - | Al/XLPE/LW/CWS/LW/AWA/PE | Al/XLPE/LW/CWS/LW/AWA/PE
АПвКсПгж, | Single core | Multi core | Single core | Multi core
| - | - | Al/XLPE/LW/CWS/LW/AWA/PE | Al/XLPE/LW/CWS/LW/AWA/PE
АПвКПгж | Single core | Multi core | Single core | Multi core
| - | NA2XSER2Y | Al/XLPE/LW/CWS/LW/SWA/PE | Al/XLPE/LW/CWS/LW/SWA/PE
ПвКаП2г | Single core | Multi core | Single core | Multi core
| - | - | Cu/XLPE/CWS/LW/AWA/PE | Cu/XLPE/CWS/LW/AWA/PE
ПвКсП2г | Single core | Multi core | Single core | Multi core
| - | - | Cu/XLPE/CWS/LW/AWA/PE | Cu/XLPE/CWS/LW/AWA/PE
ПвКП2г | Single core | Multi core | Single core | Multi core
| - | NA2XSER2Y | Cu/XLPE/CWS/LW/SWA/PE | Cu/XLPE/CWS/LW/SWA/PE
АПвКаП2г | Single core | Multi core | Single core | Multi core
| - | - | Al/XLPE/CWS/LW/AWA/PE | Al/XLPE/CWS/LW/AWA/PE
АПвКсП2г | Single core | Multi core | Single core | Multi core
| - | - | Al/XLPE/CWS/LW/AWA/PE | Al/XLPE/CWS/LW/AWA/PE
АПвКП2г | Single core | Multi core | Single core | Multi core
| - | NA2XSER2Y | Al/XLPE/CWS/LW/SWA/PE | Al/XLPE/CWS/LW/SWA/PE
ПвКаП2гж | Single core | Multi core | Single core | Multi core
| - | - | Cu/XLPE/CWS/LW/AWA/PE | Cu/XLPE/CWS/LW/AWA/PE
ПвКсП2гж | Single core | Multi core | Single core | Multi core
| - | - | Cu/XLPE/CWS/LW/AWA/PE | Cu/XLPE/CWS/LW/AWA/PE
ПвКП2гж | Single core | Multi core | Single core | Multi core
| - | NA2XSER2Y | Cu/XLPE/CWS/LW/SWA/PE | Cu/XLPE/CWS/LW/SWA/PE
АПвКаП2гж | Single core | Multi core | Single core | Multi core
| - | - | Al/XLPE/CWS/LW/AWA/PE | Al/XLPE/CWS/LW/AWA/PE
АПвКсП2гж | Single core | Multi core | Single core | Multi core
| - | - | Al/XLPE/CWS/LW/AWA/PE | Al/XLPE/CWS/LW/AWA/PE
АПвКП2гж | Single core | Multi core | Single core | Multi core
| - | NA2XSER2Y | Al/XLPE/CWS/LW/SWA/PE | Al/XLPE/CWS/LW/SWA/PE
EPREM РвКВ | Single core | Multi core | Single core | Multi core
| - | N3GSERY | - | Cu/EPR/CWS/SWA/PVC
EPREM АРвКВ | Single core | Multi core | Single core | Multi core
| - | NA3GSERY | - | Al/EPR/CWS/SWA/PVC
EPREM РвКаВ | Single core | Multi core | Single core | Multi core
| - | - | Cu/EPR/CWS/AWA/PVC | Cu/EPR/CWS/AWA/PVC
EPREM АРвКаВ | Single core | Multi core | Single core | Multi core
| - | - | Al/EPR/CWS/AWA/PVC | Al/EPR/CWS/AWA/PVC
EPREM РвКВнг(А) | Single core | Multi core | Single core | Multi core
| - | N3GSERY flame retardant | - | Cu/EPR/CWS/SWA/PVC flame retardant
EPREM АРвКВнг(А) | Single core | Multi core | Single core | Multi core
| - | NA3GSERY flame retardant | - | Al/EPR/CWS/SWA/PVC flame retardant
EPREM РвКаВнг(А) | Single core | Multi core | Single core | Multi core
| - | - | Cu/EPR/CWS/AWA/PVC flame retardant | Cu/EPR/CWS/AWA/PVC flame retardant
EPREM АРвКаВнг(А) | Single core | Multi core | Single core | Multi core
| - | - | Al/EPR/CWS/AWA/PVC flame retardant | Al/EPR/CWS/AWA/PVC flame retardant
EPREM РвКcВнг(А) | Single core | Multi core | Single core | Multi core
| - | - | Cu/EPR/CWS/AWA/PVC flame retardant | Cu/EPR/CWS/AWA/PVC flame retardant
EPREM АРвКcВнг(А) | Single core | Multi core | Single core | Multi core
| - | - | Al/EPR/CWS/AWA/PVC flame retardant | Al/EPR/CWS/AWA/PVC flame retardant
EPREM РвКВнг(А)-LS | Single core | Multi core | Single core | Multi core
| - | N3GSERY flame retardant low smoke | - | Cu/EPR/CWS/SWA/PVC flame retardant low smoke
EPREM АРвКВнг(А)-LS | Single core | Multi core | Single core | Multi core
| - | NA3GSERY flame retardant low smoke | - | Al/EPR/CWS/SWA/PVC flame retardant low smoke
EPREM РвКaВнг(А)-LS | Single core | Multi core | Single core | Multi core
| - | - | Cu/EPR/CWS/AWA/PVC flame retardant low smoke | Cu/EPR/CWS/AWA/PVC flame retardant low smoke
EPREM АРвКaВнг(А)-LS | Single core | Multi core | Single core | Multi core
| - | - | Al/EPR/CWS/AWA/PVC flame retardant low smoke | Al/EPR/CWS/AWA/PVC flame retardant low smoke
EPREM РвКсВнг(А)-LS | Single core | Multi core | Single core | Multi core
| - | - | Cu/EPR/CWS/AWA/PVC flame retardant low smoke | Cu/EPR/CWS/AWA/PVC flame retardant low smoke
EPREM АРвКсВнг(А)-LS | Single core | Multi core | Single core | Multi core
| - | - | Al/EPR/CWS/AWA/PVC flame retardant low smoke | Al/EPR/CWS/AWA/PVC flame retardant low smoke
EPREM РвКПнг(А)-HF | Single core | Multi core | Single core | Multi core
| - | N3GSERH | - | Cu/EPR/CWS/SWA/LSZH
EPREM РвКПнг(А)-HF | Single core | Multi core | Single core | Multi core
| - | NA3GSEH | - | Al/EPR/CWS/SWA/LSZH
EPREM РвКаПнг(А)-HF | Single core | Multi core | Single core | Multi core
| - | - | Cu/EPR/CWS/AWA/PVC flame retardant low smoke | Cu/EPR/CWS/AWA/PVC flame retardant low smoke
EPREM АРвКаПнг(А)-HF | Single core | Multi core | Single core | Multi core
| - | - | Al/EPR/CWS/AWA/PVC flame retardant low smoke | Al/EPR/CWS/AWA/PVC flame retardant low smoke
EPREM РвКсПнг(А)-HF | Single core | Multi core | Single core | Multi core
| - | - | Cu/EPR/CWS/AWA/PVC flame retardant low smoke | Cu/EPR/CWS/AWA/PVC flame retardant low smoke
EPREM АРвКсПнг(А)-HF | Single core | Multi core | Single core | Multi core
| - | - | Al/EPR/CWS/AWA/PVC flame retardant low smoke | Al/EPR/CWS/AWA/PVC flame retardant low smoke

## Силовой кабель 64_110 кВ
Марка кабеля по ТУ 16-705-495-2006 | Зарубежный аналог по VDE | Зарубежный аналог
ПвП2г | N2XS(FL)2Y | Cu/XLPE/CWS/LW/PE
АПвП2г | NA2XS(FL)2Y | Al/XLPE/CWS/LW/PE
ПвВ | N2XSY | Cu/XLPE/CWS/PVC
АПвВ | NA2XSY | Al/XLPE/CWS/PVC
ПвВнг(А) | N2XSY flame retardant | Cu/XLPE/CWS/PVC flame retardant
АПвВнг(А) | NA2XSY flame retardant low smoke | Al/XLPE/CWS/PVC flame retardant low smoke
ПвПнг(А)-HF | N2XSH | Cu/XLPE/CWS/LSZH
АПвПнг(А)-HF | NA2XSH | Al/XLPE/CWS/LSZH
ПвПг | N2XS(F)2Y | Cu/XLPE/LW/CWS/LW/PE
АПвПг | NA2XS(F)2Y | Al/XLPE/LW/CWS/LW/PE

## Кабели и провода гибкие
Марка кабеля, провода по ГОСТ, ТУ | Зарубежный аналог
Провода для электрических установок
ПуВ, ПуВнг(А)-LS | H07V-U, H07V-R
ПуВВ, ПуВВнг(А)-LS | H07VVH2-U, H07VVH2-R
ПуГВ, ПуГВнг(А)-LS | H07V-K, H07V3-K
ПуГВВ, ПуГВВнг(А)-LS | H07VVH2-K
ПуПнг(А)-HF | H07Z-U, H07Z-R
ПуГПнг(А)-HF | H07Z-K
Провода с медной жилой высокой гибкости с изоляцией из прозрачного ПВХ пластиката
ПВ6-З | ESUY

## Провод СИП
Марка кабеля, провода по ГОСТ31946-2012 | Зарубежный аналог
СИП-2 | AXKA, NFA2X
СИП-3 | SAX
СИП-4 | ABC
Пожаробезопасный СИПн-2 | AXKA, NFA2X flame retardant
Пожаробезопасный СИПн-3 | SAX flame retardant
Пожаробезопасный СИПн-4 | ABC flame retardant

## Неизолированный провод
Марка провода | Зарубежный аналог
АСП | ACSR/ACS, ACSR/AW
АСПк | ACSR/TW/ACS, ACSR/ACS Z, ACSR/TW/AW, ACSR/AW Z
АСПТ | TACSR/ACS, TACSR/AW
АСПТк | TACSR/TW/ACS, TACSR/ACS Z, TACSR/TW/AW, TACSR/AW Z